UST Monthly Walkthrough Inspection Checklist

Facility Name:

Facility Address:

Facility ID#:

Email Address:    Phone Number:

Respond with Yes, No, or Not Applicable (NA)

| Items |  | Date of Inspection |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Tank Top Containment Sumps and Spill Buckets | Containment sump and spill bucket covers are present, is in good condition, and is not in contact with sump lid. |  |  |  |  |  |
|  | Sump sensor is properly mounted on the sump bottom. |  |  |  |  |  |
|  | Containment sump and spill bucket lids do not show any cracks, holes, or other signs of damage. |  |  |  |  |  |
|  | Containment sump and spill bucket free from water, product, and debris? |  |  |  |  |  |
|  | No visual leaks or weeps observed inside sump and bucket. |  |  |  |  |  |
|  | Double-walled containment sump - No evidence of a release in interstice. |  |  |  |  |  |
| Under-Dispenser Containment Sumps | The dispenser cover is present and is not damaged. |  |  |  |  |  |
|  | Sump sensor is properly mounted on the sump bottom. |  |  |  |  |  |
|  | Containment sump does not show any cracks, holes, or other signs of damage. |  |  |  |  |  |
|  | Containment sump free from water, product, and debris. |  |  |  |  |  |
|  | No visual leaks or weeps observed inside sump. |  |  |  |  |  |
|  | Double-walled containment sump - No evidence of a release in interstice. |  |  |  |  |  |
| Dispenser Hoses, Nozzles, and breakaways | No loose fittings, deterioration, obvious signs of leaks, and improper functioning. |  |  |  |  |  |
| Overfill Alarm | Overfill alarm is audible and visible. |  |  |  |  |  |
| Drop Tubes | Has no obstruction. |  |  |  |  |  |
|  | Fill cap fits securely. |  |  |  |  |  |
| Automatic Tank Gauge (ATG) | Passing monthly test results. |  |  |  |  |  |
| Interstitial Monitoring | Sensor status is normal. |  |  |  |  |  |
| Statistical Inventory Reconciliation (SIR) | Previous months results obtained with passing result. |  |  |  |  |  |
|  | Data being collected for current month. |  |  |  |  |  |
| Monthly Piping Leak Test | Passing piping leak test results. |  |  |  |  |  |
| Manual Interstitial Monitoring for Piping | Tank-top sumps inspected, free of liquid. |  |  |  |  |  |
| Records | All leak detection and testing records are being kept. |  |  |  |  |  |
| Financial Responsibility (FR). | FR is current. |  |  |  |  |  |
| Class A, B, and C Operators. | All operators are trained and designated and current. |  |  |  |  |  |

Comments:

I certify that I have personally examined the walkthrough inspection as established in 20 DCMR 5900 for this facility and I further certify that the information in this document is true, accurate, and complete.

Name:		Sign: 	Date: